|  |  | POLICY NUMBER: A1300 |  |
| --- | --- | --- | --- |
| REFERENCE: |  | ADOPTED BY: |  |
| Commissioners Ref. #39, 1983 01 12 |  | City Manager |  |
| City Manager, 1986 11 30 |  |  |  |
|  |  | SUPERSEDES: |  |
|  |  | 1130 |  |
| PREPARED BY: | Edmonton Power | DATE: | 1986 11 28 |
| TITLE: | DE-ENERGIZING OF AN ELECTRICAL HIGH VOLTAGE COMPONENT |  |  |
| Policy Statement: |  |  |  |

EDMONTON POWER WILL DE-ENERGIZE AN ELECTRICAL HIGH VOLTAGE COMPONENT WHEN THERE IS IMMINENT DANGER TO HUMAN LIFE.

The purpose of this policy is to:

Advise City departments that Edmonton Power will de-energize high voltage equipment when necessary to protect or save human life.

Define:	"de-energize"	as to shut off power to a designated area.

NOTE:	Until qualified Edmonton Power personnel at the field location confirm that the power has been shut off, the component must be considered energized.

"high voltage"	as electrical power of 750 volts or higher, and (for the purpose of this policy only) to include trolley and LRT lines.

"imminent danger"	Exists if the person endangered may be seriously injured or killed if the electricity is not shut off.

1.	DEFINITIONS

1.01	Person in charge is a person who believes a situation of imminent danger exists and is taking or coordinating action to request a power line be shut off.

2.	RESPONSIBILITIES

2.01	The General Manager of Edmonton Power to establish the necessary instructions to all concerned employees, to properly implement this policy in his Department.

2.02	Department Heads to notify employees of this policy.

3.	PROCEDURES

3.01	Initial Contact

On recognizing imminent danger due to a high voltage component, the person in charge in the field will call his or her respective department's Communications Centre which in turn shall contact the Edmonton Power Control Centre, identify themselves, describe the location and request the power to be shut off.

3.02	Switching

The Control Operator will de-energize the circuit and record the identity of the caller and location of the imminent danger.

3.03	Verification

The Control Operator shall dispatch Edmonton Power field crews to confirm that the power is off and that imminent danger no longer exists.

3.04	Justification

The person in charge may subsequently be required to justify the request for the power shut off.