## PERFORMANCE SUMMARY
Project Address: |  |  | Zone 7A HDD: | 5120
Builder: |  |  | Job Number:
BUILDING TYPE: |  |  | DESIGN TYPE:
Building total area all floors including basement (m²)= |  |  | Orientation:
|  | REFERENCE | PROPOSED
Thermal mass (MJ/m² oC) |  | 0.06
Solar Absorptance |  | 0.4
Airtightness |  | 2.5 ACH@50Pa |  | 3.2ACH~~9.25.3 -or- 2.5ACH~~9.36.2.10
Submit Blower Door Test Report? |  | N/A |  | Required if <2.5ACH; Voluntary if 2.5 ACH | Provide if required for building code compliance
|  | REFERENCE ETR | PROPOSED ETR | PROPOSED ASSEMBLY incl. insulation R-value
ROOF | Ceiling below attic | 10.43 |  |  | PROPOSED ASSEMBLY (Primary thermal layer) including insulation R-value is to be indicated in the spaces for the applicable assemblies. Examples are as follows: - Wall: 2x6@24" oc / R22 batt ; - Roof truss: 24" oc 2x4 bottom-chord / R57 (16" cellulose loose-fill); - 2x4@16" oc / R14 batt / 1.5"EPS, - I joist 19.2" oc/ 5" 2lb sprayfoam R26
| Vault/flat roof | 5.02
ABOVE-GROUND WALLS | Exterior walls | 3.08
| Tall walls | 3.08
| House to garage | 3.08
| Other: | 3.08
| Other: | 3.08
| Other: | 3.08
RIM JOISTS All levels | Parallel (pony wall) | 3.08
| Perpendicular | 3.08
ABOVE-GROUND FLOOR | Cantilever/over exterior | 5.02
| Over garage | 5.02
BELOW-GRADE WALLS | Basement frostwall | 3.46
| Basement walkout wall | 3.46
SLAB on GRADE | Under, at edge & skirt | 3.72
BASEMENT FLOOR | Walkout-unheated floor | 1.96
FLOOR | Heated, in ground-contact | 2.84
FDWR: see 9.36.5.14.(10)
WINDOWS/DOORS (U-value: W/ (m² * K)) |  | U-value | U-value
| Picture | 1.6 |  |  | 1) Maximum U-value (“all windows to be of U-value ‘x’ or less” – model to use the U-value of ‘x’ in all windows as User Defined entry. OR 2) Individual U-values put on a window schedule.These individual U-values may come from either the manufacturer or from HOT2000 calculations.
Casement
Slider
Patio slider
Doors
Awning/hopper
Other
Solar Heat Gain Coefficient |  | 0.26
Heat Recovery Ventilator proposed ? |  | None |  |  | HR efficiency ≥60%@0oC & ≥55%@-25oC ?
HRV Efficiency |  | N/A
Space Heating Equipment Efficiency
Space Heating Equipment Efficiency
Ventilation Rate
Space Cooling Equipment Efficiency
Service Water Heater Efficiency
Service Water Heater Efficiency
Service Water recirculation pump included?
House energy target v annual energy consumption (GJ): |  |  | ` | #VALUE!
Software Name/Version/Adaptations or workarounds:
DECLARATION by person responsible for preparing the calculations used to demonstrate compliance with ABC2014 Division B Section 9.36. Submit complete (proposed and reference) modelling report generated by ANSI/ASHRAE 140-compliant software to this Summary
Energy Advisor Firm:
Address:
Contact Email and Tel:
Type Name to Sign: |  |  | Date:
3.2 ACH@50Pa
|  |  | N | 2.5 ACH@50Pa
|  |  | NE | 2.5 ACH@50Pa with Blower Door Test
|  |  | E | < 2.5 ACH@50Pa with Blower Door Test
SE
|  |  | S | Yes
|  |  | SW | None
W
NW